WORK ORDER

24th January, 2019

To,

CROSS WORLD POWER LTD

Plot 1/B, Road 90, Gulshan-2 ,

Dhaka 1212, Bangladesh.

Subject:Work order for supplying exhaust system materials and commissioning materials  for the installation of 100 KVA diesel generator set at CM sir’s Banskhali Home.

Dear Sir,

With reference to your offer & subsequent discussion with you, our company is pleased to issue the work order for supplying exhaust system materials and commissioning materials for the installation of 100 KVA diesel generator set at CM sir’s Banskhali Home.

Scope of work:

| SL NO | JOB DESCRIPTION | TECHNICAL DETAILS | Qty | Unit Price (BDT) | Total Price (BDT) |
| --- | --- | --- | --- | --- | --- |
| 01. | Exhaust Silencer straight Pipe | MS Pipe bore 100mm ,thickness 4mm | 5 Meter | 1,942 | 9,710 |
| 02. | Exhaust Heat Insulation | Insulation Of Pipe & muffler with Rockwool (25 mm) along with 26SWG Aluminium sheet clading. | 1 job | 5,867 | 5,867 |
| 03. | Exhasut Fitting | With 37*37*4 mm MS Angle, flat bar, royal bolt, nut bolt etc. | 1 job | 4,564 | 4,564 |
| 04. | Exhaust Bends /Elbow | Long radius 90 deg L bow 100mm bore | 2 Pcs | 855 | 1,710 |
| 05. | Exhaust Flange | Welding Neck flange 100mm dia | 2 Pcs | 461 | 922 |

| 06. | Radiator Coolant | Havoline premix coolant | 15 Liter | 89 | 1,335 |
| --- | --- | --- | --- | --- | --- |
| 07. | Lube Oil | SAE 15 W 40 | 10 Liter | 420 | 4,200 |
| 08. | Battery Electrolyte | Specific gravity 1250 | 10 Liter | 68 | 680 |
| 09. | Control Cable For sensing | 4*1.2 rm Flexible Cable | 16Meter | 87 | 1,392 |

Total Price: After giving discount total price is BDT 27,000 (Twenty Seven Thousand Taka Only.)

Payment Terms:  100% after supplying materials.

Thanking You,