## Sheet1
Code | Parts Name | Category | Part No. | SL | Different
2531 | Nozzle / FG Wilson | Accesorries | 912-019 | 4 | -2
2893 | Magnetic Contactor Assemble | Accesorries | CL04 | 5 | -1
6884 | Liner Seal | Spare Parts | 934-810 | 6 | -2
6791 | Socket 2.5 Inch | Silencer | 2.5 Inch | 7 | -1
6681 | Cable Terminel 4 pole 150A | Panel | 150A | 8 | -2
2743 | CT | Accesorries | 1600/5A | 9 | -1
6652 | RCCB 63A, 4p 30mA /Shihlin | Panel | 63A, 4P 30mA | 10 | -4
6529 | Fan belt | Spare Parts | 5556085 | 11 | -7
6528 | Fan belt | Spare Parts | 5554153 | 12 | -7
3347 | Cable Lugs 70 RM | Accesorries | 70 RM | 13 | -6
6404 | Seal O Ring | Spare Parts | 576/217 | 14 | -1
3007 | Cable Lugs | Accesorries | 120 RM | 15 | -2
6176 | Temparature Sensor LCD | Accessories (Elec) |  | 16 | -4
5497 | MCB SP 2A | Accessories (Elec) | SP 2A | 17 | -3
3309 | Magnetic Contactor Assembly 45 Amp | Accessories (Elec) | CL03 | 18 | -2
3419 | Magnetic Contactor Assembly | Accessories (Elec) | GMC40 | 19 | -1
5952 | Flexible Control Cable | Cable | 4 X 1.5 rm | 20 | -1
3084 | Magnetic Contactor 185 A / ABB | Accessories (Elec) | A185-30-11 | 21 | -1
5909 | PVC Flexible Pipe 1 Inch | Pipe | 1 Inch | 22 | -0.48
5882 | Cable Clip 2.5 RM | Accesorries | I type | 23 | -2
5784 | Start Contact Relay 24 Volt / Omron | Spare Parts | 6 Pin | 24 | -3
5773 | Gasket / Perkins | Spare Parts | 331/266 | 25 | -1
3664 | CT 60/5 | Accessories (Elec) | 60/5A | 26 | -1
6122 | Circuite Breaker 16 A | Accessories (Elec) | SP 16 A | 27 | -1
4750 | Circuit Breaker SP | Accessories (Elec) | 6A | 28 | -2
5669 | Magnetic Contactor Assembly | Accessories (Elec) | MC 85 | 29 | -1
5630 | Gasket / FG Willson | Spare Parts | 934-618 | 30 | -2
5585 | Earthing Block | Accesorries | 20 X 5 | 31 | -1
5581 | Power Cable NYY | Cable | 4 X 35 RM | 32 | -29
5575 | Fan Belt | Accesorries | AX31 | 33 | -1
5574 | Fan Belt | Accesorries | AX 32 | 34 | -1
5558 | Rear Oil Seal / Perkins | Spare Parts | 50209083 | 35 | -2
5546 | Fan Belt | Spare Parts | A-48 | 36 | -1
5522 | Oil Filter | Filter | WB 202 | 37 | -1
5477 | Joint / Perkins | Spare Parts | 283/111 | 38 | -1
5473 | Joint / Perkins | Spare Parts | SE116C/5 | 39 | -1
5466 | Gasket / Perkins | Spare Parts | SE240A/3 | 40 | -1
5431 | Joint / Perkins | Spare Parts | SE175C/32 | 41 | -1
5416 | Fan / Perkins | Spare Parts | 2485C555 | 42 | -1
3132 | Cable Lugs 95 RM | Air Filter | 95 RM | 43 | -3
5364 | Filter Head / Perkins | Spare Parts | 4812065 | 44 | -1
5363 | Filter Assembly / Perkins | Spare Parts | 4415105 | 45 | -1
5342 | Piston Pin / Mitshubishi | Spare Parts | 31A1710602 | 46 | -2
5286 | Fuel Filter / MTU | Fuel Filter | X57508300026 | 47 | -3
5285 | Air Filter / MTU | Air Filter | 170941202 | 48 | -1
2372 | Air Filter Element / Perkins | Air Filter | 26510353 | 49 | -1
5204 | Head gasket / Perkins | Spare Parts | 111147491 | 50 | -2
5199 | Valve Exhaust / Perkins | Spare Parts | U20176380 | 51 | -8
5158 | Power Cable 1 X 16 RM | Cable | 1 X 16 RM | 52 | -2
5111 | Mounting / Perkins | Spare Parts | 2634A115 | 53 | -4
5455 | Air Filter / Perkins | Air Filter | 4881643 | 54 | -1
4961 | Fan Belt/Fujian | Accesorries | AX46 | 55 | -1
4956 | Oil Filter/Tata | Filter | 2534 18130129 | 56 | -2
4954 | Diesel Filter/Delphi | Fuel Filter | EFG-796 | 57 | -1
4952 | Oil Filter/Lister Piter | Filter | 328-21600 | 58 | -1
4947 | Albo Parkins | Spare Parts | 3767C011 | 59 | -1
4933 | Mechanical Inter Lock/ABB | Accessories (Elec) | A95/110 | 60 | -1
4932 | Mechanical Inter Lock/ABB | Accessories (Elec) | VMS-1 | 61 | -2
4927 | Beg End Bearing/Deutz | Spare Parts | 61-1555-00 | 62 | -1
4909 | Seal O Ring | Spare Parts | CH11139 | 63 | -1
4896 | Fuel/Water Separator | Fuel Filter | 26550005 | 64 | -2
4829 | Heat Shing Tube | Accesorries | 100 X 10 mm | 65 | -0.5
4815 | Air Filter | Air Filter | 11" X 15" | 66 | -1
4812 | Washar | Spare Parts | CH10086 | 67 | -1
4811 | Seal O Ring | Spare Parts | CH10048 | 68 | -1
4807 | Gasket | Spare Parts | CV20235 | 69 | -1
4771 | Valve | Spare Parts | 31431981 | 70 | -1
4699 | Ac Relay 220V / Omron | Accessories (Elec) | 8 pin | 71 | -1
4638 | ComAp InteliLite | Spare Parts | AMF25-C | 72 | -2
4635 | Seal / Perkins | Spare Parts | CH10787 | 73 | -2
2448 | Oil Filter / Donaldson | Filter | P502051 / C5204 | 74 | -1
4462 | Fuel Filter / Perkins | Fuel Filter | 26561118 | 75 | -2
4460 | Cable Lugs | Accessories (Elec) | 150 RM | 76 | -5
4458 | EIM Basic 12 Volt | Spare Parts | 258-9755 | 77 | -1
4449 | Valve Seal/Perkins | Spare Parts | CH10703 | 78 | -1
4368 | Liner Seal / Mahindra | Spare Parts | 005553024R1 | 79 | -1
4343 | Intake Valve/ Aksa | Spare Parts | APD20A | 80 | -1
4245 | Digital Fuel Gauges | Spare Parts | 8503-0099 | 81 | -1
4210 | Valve Inlet / Jhondeer | Spare Parts | R702503 | 82 | -3
4179 | Hand Pump | Accesorries |  | 83 | -5
4165 | Coolant / Havoline | Radiator Coolant | XLI | 84 | -2
3776 | Lube Oil Filter / Perkins | Filter | 4324909 | 85 | -6
2439 | Lube Oil Filter / Perkins | Filter | 2654403 | 86 | -1
4126 | Flexible Pipe 3/4" | Pipe | 3/4" | 87 | -0.4
4078 | Gasket / Perkins | Spare Parts | 7081230C1 | 88 | -1
4040 | Rocker Cover Gasket / Joint | Spare Parts | 908-020 | 89 | -1
4026 | Sump Gasket | Spare Parts | 1826587C1 | 90 | -1
3979 | Bridge Piece | Spare Parts | SE152A/24 | 91 | -1
3910 | Beg End Bearing | Spare Parts | U5ME0034 | 92 | -1
3857 | Fuel Filter Housing / Perkins | Spare Parts | CH11265 | 93 | -1
3845 | Fan Belt / Perkins | Accesorries | 1841559C1 | 94 | -1
3670 | Flexible DC Cable | Cable | 16 RM | 95 | -1
6713 | Pre fuel filter | Fuel Filter | 4395038 | 96 | -1
3627 | Exhaust manifold gasket | Spare Parts | 341/201 | 97 | -6
3574 | Filter Head / Perkins | Spare Parts | CH12434 | 98 | -1
4464 | Fuel Water Separator Filter/ Perkins | Fuel Filter | 4415122 | 99 | -1
3560 | Cable Lugs 35 RM | Petty Spares | 35 RM | 100 | -20
3507 | SEAL | Spare Parts | 576/218 | 101 | -1
3504 | Retainer | Spare Parts | SE1B/39 | 102 | -1
3503 | Insert | Spare Parts | 740/106 | 103 | -1
3492 | Rocker Cover Gasket | Spare Parts | SE478F | 104 | -1
3485 | Big End Bearing STD | Spare Parts | KRP3023 | 105 | -1
3458 | Helai sheet | Accesorries | 2024-01-16 | 106 | -1
3408 | Shild Cable | Cable | 2 X 1.2 RM | 107 | -2
3395 | Starter Motor / Perkins | Motor | 2873K116 | 108 | -1
4688 | FueL Filter / Perkins | Fuel Filter | 4759205 | 109 | -2
3310 | Flexible DC Cable 70 RM | Cable | 70 RM | 110 | -0.5
3301 | Seal Oil / Perkins | Spare Parts | CH11656 | 111 | -1
3267 | Fan Belt | Accesorries | 541/444 | 112 | -1
3263 | Earthing Cable 1X10 RM | Cable | 1X10 RM | 113 | -0.25
3247 | PVC Cable 1X35 RM NYY | Cable | 1X35 RM | 114 | -105
3460 | Fuel Filter / Man | Fuel Filter | PU 1058X | 115 | -1
3152 | Filter Opener | Tools |  | 116 | -1
3128 | Fan belt / Perkins | Accesorries | AX47 | 117 | -1
3221 | Fuel Filter / Fleetguard | Fuel Filter | FF5507 | 118 | -1
3056 | Magnetic Contactor Assembly /ABB | Accessories (Elec) | A50-30-10 | 119 | -2
3041 | Thormostate Valve / Perkins | Spare Parts | 2485666 | 120 | -1
3026 | Piston Ring / Perkins | Spare Parts | UPRK0003 | 121 | -4
3024 | Piston Kit / Perkins | Spare Parts | 115107970 | 122 | -1
3010 | Coolant | Radiator Coolant | QC | 123 | -0.5
2407 | Fuel Filter / Donaldson | Fuel Filter | P550774 | 124 | -1
6166 | Fuel Filter | Fuel Filter | 4794132 | 125 | -1
2948 | piston ring | Spare Parts | 41158065 | 126 | -1
2836 | Inlet Valve | Spare Parts | 3142H071 | 127 | -3
2664 | Air Filter Element / Sakura | Air Filter | A7003 | 128 | -1
2655 | Air Filter Element / Mann | Air Filter | C20500 | 129 | -1
2619 | Dynamo Belt / Perkins | Accesorries | CH11202 | 130 | -2
2593 | Valve Seat Exhaust / Perkins | Accesorries | 3314A121 | 131 | -6
2586 | Main Bearing Set STD / Perkins | Accesorries | U5MB0030 | 132 | -1
2556 | Governor / FG Wilson | Accesorries | 936-081 | 133 | -1
2548 | Shaft / FG Wilson | Accesorries | 907-115 | 134 | -1
2532 | Pressure Switch / FG Wilson | Accesorries | 10000-00801 | 135 | -1
7057 | Fuel Tank Cap | Spare Parts |  | 136 | -8
2473 | Timing Cover / Perkins | Accesorries | 4142A503 | 137 | -3
2460 | Oil Seal / FG Wilson | Accesorries | 915-637 | 138 | -1
5210 | Auto Off Manual Selector Switch | Spare Parts |  | 139 | -1
3272 | Water Filter / Perkins | Water Filter | 26550001 | 140 | -1
2384 | Air Filter Element / FG Wilson | Air Filter | 901-046 | 141 | -4
2383 | Air Filter Element / Perkins | Air Filter | 26510362 | 142 | -2
3042 | Water Filter / Fleetguard | Water Filter | WF2076 | 143 | -1